RFQ 6872 LP
Emergency Generator Services
RFQ 6782 LP
Emergency Generator Services

[image: image1.emf]








REQUEST FOR QUOTATION

	East Tennessee State University
	
	Bid Number:
	RFQ 6872 LP

	Procurement & Contract Services
	
	Date:
	April 7, 2020

	PO Box 70729
	
	Department:
	Facilities Mgmt.

	1276 Gilbreath Drive     
	
	Requisition Number:
	

	Burgin Dossett Hall, B-16                    
	
	
	

	Johnson City, TN  37614
	
	
	

	(423) 439-6890
	
	
	

	Bids must emailed and be received by:  Monday, April 27, 2020 at 2:00 PM, EST.

	Attn:  Lesia Pendleton, Purchasing Agent

Phone:  423-439-6890
Email:  pendletonl@etsu.edu

	Bid subject to the Standard Bid Terms & Conditions available at https://www.etsu.edu/bf/procurement/purchasing/vendor_information.php
& ETSU Board of Trustees, General Purchasing, Receipt of Materials, & Payment of Invoices at https://www.etsu.edu/bf/fp.php
Vendors must email bids, and bids must be received by:  Date/Time:  Monday, April 27, 2020 at 2:00 PM EST.  No late bids will be accepted.
NOTE:  The subject line of the email containing your bid response  MUST state “RFQ 6872 BID RESPONSE”.  The bid response must be attached to the email.  The email will not be opened before 4/27/2020 @ 2:00 p.m. EST.  The quotation must be typewritten or submitted in ink, using this form and submitted via e-mail.   Email Bid responses to pendletonl@etsu.edu.
Unless otherwise requested, quote on each item separately.  Provide unit prices.  If unable to furnish items as specified, submit sample and/or complete descriptive specifications of substitute offered as equal or better.  East Tennessee State University is exempt from state, federal, and local taxes; do not include taxes in quotation.  Quote F.O.B., East Tennessee State University, Johnson City, Tennessee.  Minimum terms: Net 30 days.  Prepayment, deposits or COD not allowed.  Progress payments may apply if approved by Facilities Management.  Bid pricing remains in effect for 120 days.  Bid Protest - Procedures for protesting bid results are found at: https://www.etsu.edu/bf/procurement/purchasing/vendor_information.php


	(THIS IS NOT AN ORDER)

	ITEM

NO.
	QTY
	UNIT
	DESCRIPTION
	UNIT PRICE

	
	
	
	
	

	
	
	
	East Tennessee State University announces this invitation to bid for the purpose of providing Emergency Generator Services for ETSU Facilities Management per the attached specifications:
	

	
	
	
	1. Only one (1) bid response per vendor is permitted.  Bid will be awarded on an all or none basis.
2. Written questions regarding this quotation must be emailed to Lesia Pendleton, ETSU Procurement, at pendletonl@etsu.edu, by or before April 14, 2020, at 2:00 PM EST.    Any questions submitted after this time will not be accepted.  Responses will be provided to all bidders by April 17, 2020.
3. The Supplier Cost Summary, Attachment B, must be emailed with your bid response.
4. Vendor is to use this form to submit/email bid pricing.
5. Failure to comply with any specification or requirement may result in rejection of bid response.

Annual Maintenance/Testing & Quarterly Inspections for Emergency Generators

This agreement is for the period beginning July 1, 2020 through June 30, 2025, to provide  one (1) Major Maintenance and three (3) Quarterly Inspections per year.  

The maintenance/inspection pricing is to include all necessary labor, materials and mileage costs.  Quarterly inspections include a comprehensive inspection of all mechanical and electrical systems, running the engine, checking and topping fluids, and performing operational checks as per NFPA 110, 2005 Edition.  Major inspections include all of the quarterly inspection items plus replacement of engine oil, oil filters, fuel filters, air filters (if required) and water filters, as required by the manufacturer of the unit and NFPA 110, 2005 Edition.

All inspections and tests are to be scheduled in advance with the Office of Environmental Health & Safety at 423.439.6028.

After inspection of each generator, a written report of the inspection and work conducted is to be submitted to the ETSU Office of Environmental Health & Safety, PO Box 70653, Johnson City, TN 37614.

Waste oil must be disposed by contractor following all applicable regulatory requirements.

This is a five-year agreement.  Either party reserves the right to cancel the contract with a sixty (60) day written notice.

	

	The successful proposer is responsible for any damages including but not limited to damage to water pipes and electrical wiring including any conduits inside or outside of a building when making core drills, floor, wall and or ceiling penetrations and is also responsible at the vendors expense for the repair of such damages.  This also includes damages to landscape areas.



	ETSU and its campuses are Tobacco-Free, where all use of tobacco is restricted to private vehicles.


	Addendum(s) received (if applicable):

a. Addendum 1  ___

b. Addendum 2  ___



	By signing this proposal, proposer complies with all the terms and conditions, requirements and specifications of this RFQ, all Attachments, all Amendments and Addenda thereto.

	
	
	
	
	

	
	
	
	TOTAL BID PRICE FOR FIVE YEARS:  $_____________________
(Does not include replacement parts of Items 50-53 on checklist)
	

	
	
	
	
	

	
	
	
	Vendor Name:  


	

	
	
	
	Official Business Address:

	

	
	
	
	Authorized Signature:

	

	
	
	
	Name, Printed or Typed:


	

	
	
	
	Title:
	

	
	
	
	Date:


	

	
	
	
	Telephone:


	

	
	
	
	Fax:


	

	
	
	
	Email Address:


	

	
	
	
	Note:  Bid must have original signature or will be rejected.

East Tennessee State University is an EEO/AA/Title IX/Section 504/ADA employer.
	

	
	
	
	
	

	
	
	
	Failure to comply with any specification or requirement may result in disqualification of bid response. 

FAILURE TO SIGN WILL RESULT IN REJECTION

East Tennessee State University is an EEO/AA/Title IX/Section 504/ADA employer.
	

	
	
	
	
	

	
	
	
	If a vendor application is not already on file with ETSU, a completed vendor application must be submitted with bid response.  See Attachment A.

ETSU prefers to pay by direct deposit.  Successful proposer will be sent direct deposit form.
	


Annual Maintenance/Testing & Quarterly Inspections for Emergency Generators

for East Tennessee State University

General

Provide annual maintenance on emergency generators listed below, including one major maintenance, and three (3) quarterly inspections per year, per the attached MAINTENANCE PROCEDURES FOR ETSU GENERATORS. 
Minimum Requirements

All inspections are to be scheduled in advance with the appropriate contact. The main campus contact is Mike Barrett, EHS Office, 423.439.4081.  The contact person for the VA Campus and Palma L. Robinson Clinical Education building is Todd Elrod, Physical Facilities, 423/439-8783.

After each inspection of each generator, a written checklist or documentation of work is required to be submitted to the contact person for that location.

The term of this service agreement shall be for five (5) years.  Either party may cancel this agreement by giving a sixty (60) day written notice.

It is the responsibility of the contractor to visit the job site and verify existing conditions, determine the location and number of installed devices, and make any necessary measurements or equipment specification verification.

The successful contractor must have a drug-free workplace program that complies with Title 50, Chapter 9 of the Tennessee Code Annotated.

The successful contractor must follow all appropriate codes and regulations in the inspections of the generators and in disposal of oil, etc.

A Bidder whose bid is equal to or exceeds $25,000 must be licensed in accordance with Tennessee Code Annotated 62-6-101, at seq.  A copy of the license must be included with your bid response.
All Bidders must adhere to all provisions of Chapter 6 entitled "General Contractors" of o the Tennessee Code Annotated as they pertain to this particular project.

THE FOLLOWING MAINTENANCE PROCEDURES FOR ETSU GENERATORS ARE PART OF THIS BID AND MUST BE PERFORMED BY THE SUCCESSFUL BIDDER.  

MAINTENANCE PROCEDURES FOR ETSU GENERATORS

QUARTERLY

PRE-START CHECKS:

1. CHECK HOURS ON UNIT AGAINST PREVIOUS SERVICE RECORDS TO DETERMINE NEED FOR STANDARD TYPE MAINTENANCE OR MORE EXTENSIVE ANNUAL TYPE MAINTENANCE.

2. CHECK ENGINE FLUID LEVELS AND FLUID CONDITIONS FOR DIRT OR CONTAMINATION. ADD FLUIDS TO PROPER WORKING LEVELS ACCORDINGLY.

3. CHECK FUEL LINE FILTER. DRAIN WATER IF NEEDED.

4. CHECK ENGINE COOLANT SYSTEM TO DETERMINE PROPER COOLING AND ANTI-FREEZE CONTENT.

5. CHECK ALL COOLANT HOSES AND CLAMPS FOR WEAR AND TIGHTNESS.

6. CHECK ENGINE COOLANT HEATER FOR PROPER OPERATION.

7. CHECK FUEL LINES, CLAMPS, AND CONNECTIONS FOR WEAR OR LEAKAGE.

8. CHECK ALL PULLEY BELTS FOR TIGHTNESS AND WEAR.

9. CHECK BATTERY CHARGER FOR PROPER OPERATION.

10. CHECK BATTERY CABLES FOR TIGHTNESS AND CORROSION. CLEAN AND TREAT AS NECESSARY.

11. CHECK BATTERY WATER FOR PROPER LEVEL AND SPECIFIC GRAVITY.

ENGINE RUNNING CHECKS:

12. INSPECT MUFFLER FOR RUST, CORROSION AND LEAKAGE.

13. CHECK DIESEL PRE-HEAT SYSTEM FOR PROPER OPERATION AND TIGHTNESS OF CONNECTIONS.

14. CHECK ENGINE GOVERNOR FOR PROPER OPERATION, FLUID LEVELS, AND ALL LINKAGES TO DIESEL INJECTION SYSTEM. ADJUST FREQUENCY IF NEEDED.

15. CHECK DC ENGINE ALTERNATOR SYSTEM FOR PROPER CHARGING AND OUTPUT.

16. CHECK ALL GAUGES FOR PROPER OPERATION.

17. LUBRICATE LOUVER LINKAGE (IF APPLICABLE).

18. CHECK ALL WARNING LIGHTS AND TEST SHUTDOWN OPERATION FOR ALL ENGINE AND GENERATOR SHUTDOWN SYSTEMS.

19. CALIBRATE VOLTAGE AND FREQUENCY METERS.

20. TEST ALL ELECTRONIC CONTROLS FOR PROPER OPERATION.

21. TEST TRANSFER SWITCH OPERATION AND CHECK ALL LIGHTS AND COMPONENTS FOR PROPER OPERATION.

22. CHECK AIR FILTRATION SYSTEM, CLEAN OR REPLACE FILTERS AS NEEDED.

23. TEST EMERGENCY SYSTEM OPERATION WITH LOAD TRANSFER (IF APPLICABLE).

ANNUAL MAINTENANCE
PRE-START CHECKS:

24. CHECK HOURS ON UNIT AGAINST PREVIOUS RECORDS TO DETERMINE NEED FOR STANDARD TYPE ANNUAL MAINTENANCE OR MORE EXTENSIVE ANNUAL TYPE MAINTENANCE.

25. CHECK ENGINE FLUID LEVELS AND FLUID CONDITIONS FOR DIRT OR CONTAMINATION. ADD FLUIDS TO PROPER WORKING LEVELS ACCORDINGLY.
26. CHECK FUEL LINE FILTER. DRAIN IF NEEDED.

27. CHECK ENGINE COOLANT SYSTEM TO DETERMINE PROPER COOLING AND ANTI-FREEZE CONTENT.

28. CHECK ALL COLLANT HOSES AND CLAMPS FOR WEAR AND TIGHTNESS.

29. CHECK ENGINE COOLANT HEATER FOR PROPER OPERATION.

30. CHECK FUEL LINES, CLAMPS, AND CONNECTIONS FOR WEAR OR LEAKAGE.

31. CHECK ALL PULLEY BELTS FOR TIGHTNESS AND WEAR.

32. CHECK BATTERY CHARGER FOR PROPER OPERATION.

33. CHECK BATTERY CABLES FOR TIGHTNESS AND CORROSION, CLEAN AND TREAT AS NECESSARY.

34. CHECK BATTERY WATER FOR PROPER LEVEL AND SPECIFIC GRAVITY.

ENGINE RUNNING CHECKS:

35. INSPECT MUFFLER FOR RUST, CORROSION AND LEAKAGE.

36. CHECK DIESEL PRE-HEAT SYSTEM FOR PROPER OPERATION AND TIGHTNESS OF CONNECTIONS.

37. CHECK ENGINE GOVERNOR FOR PROPER OPERATION, FLUID LEVELS, AND ALL LINKAGES TO DIESEL INJECTION SYSTEM. ADJUST FREQUENCY IF NEEDED.

38. CHECK-DC ENGINE -ALTERNATOR- SYSTEM FOR PROPER CHARGING AND OUTPUT.

39. CHECK ALL GAUGES FOR PROPER OPERATION.

40. CHANGE OIL AND OIL FILTERS.

41. CHANGE FUEL FILTERS, PRIME FUEL SYSTEM, RESTART SYSTEM AND CHECK FOR LEAKS (IF APPLICABLE).

42. LUBRICATE LOUVER LINKAGE (IF APPLICABLE).

43. CHECK ALL WARNING LIGHTS AND TEST SHUTDOWN OPERATION FOR ALL ENGINE AND GENERATOR SHUTDOWN SYSTEMS.

44. CALIBRATE VOLTAGE AND FREQUENCY METERS.

45. TEST ALL ELECTRONIC CONTROLS FOR PROPER OPERATION.

46. TEST TRANSFER SWITCH OPERATION AND CHECK ALL LIGHTS AND COMPONENTS FOR PROPER OPERATION.

47. CHECK AIR FILTRATION SYSTEM AND CLEAN FILTERS AS NEEDED.

48. TEST EMERGENCY SYSTEM OPERATION WITH LOAD TRANSFER (IF APPLICABLE).

49. DISPOSE OF OIL AND OIL FILTERS PER GOVERNMENT REGULATIONS.

DO THE FOLLOWING, AS REQUIRED.  NOT PART OF AGREEMENT COST:

50. OIL ANALYSIS.
51. REPLACE AIR FILTERS.
Emergency generators included in this service agreement are as follows: 
	Location
	Make
	Kilowatts
	Model #
	Fuel Type

	Buc Ridge III
	Cummins
	15 kw
	DSKAB-2711032
	Diesel

	Buc Ridge IV
	Generac
	15 kw
	12702670200
	Diesel

	Lucille Clement
	Kohler
	350 kw
	350REOZDD
	Diesel

	Burgin Dossett
	Kohler
	155 kw
	150REOZJE
	Diesel

	Brown Hall (North)
	Kohler
	50 kw
	50REZGB
	Natural gas

	Brown Hall (South)
	Kohler
	50 kw
	150REZGB
	Natural Gas

	Parking Garage
	Generac
	130 kw
	15322390100
	Natural Gas

	Brooks Gym
	Generac
	17.5 kW
	08937-0
	Diesel

	Buccaneer Ridge
	Onan
	250 kW
	200dgfcspec.91185a
	Diesel

	Carter Hall
	Cummins
	80 kW
	DSFAE/J070114682
	Diesel

	Centennial Hall
	Cummins
	350 kW
	DQHAB 200
	Diesel

	CPA
	Kohler
	80 kW
	80ROZJ
	Diesel

	Culp Center
	Cummins
	108 kW
	QSB5-G3-NR3
	Diesel

	Gov.’s Hall
	Generac
	250 kW
	74384802006D24-381638
	Diesel

	Mini Dome
	Cummins
	150 kW
	500FDC3041BB
	Diesel

	Nick’s Hall
	Generac
	275 kW
	5565910100
	Diesel

	Power House
	Olympian
	200 kW
	98A01766-S
	Diesel

	Parking Services
	Generac
	17 kW
	0055310
	Natural Gas

	Sherrod Library
	CAT
	250 kW
	SR4-B
	Diesel

	Football Stadium
	CAT
	300 kW
	C9
	Diesel

	Data Center
	CAT
	700 kW
	12702670200
	Diesel

	Millenium Center
	Olympian
	90 kW
	D90P1
	Diesel

	VA
	
	
	
	

	Bldg. #6
	Kohler
	600 kW
	600 REOZM
	Diesel

	Bldg. #7
	Generac
	25 kW
	QT02524GNSNA
	Natural Gas

	Bldg. #119 (Inside)
	CAT
	520 kW
	SR4
	Diesel

	Bldg. #178
	CAT
	2000 kW
	SR-4B
	Diesel

	CEB
	Cummins
	80 kW
	5D0080KG174.5D18HBSY3
	Diesel

	Satellite
	
	
	
	

	Gray Fossil Site
	Kohler
	80 kW
	40REO7JB
	Diesel

	Valleybrook
	Onan
	175 kw
	175DGFB
	Diesel

	Community Health Center
	Generac
	50 kw
	13773220200
	Diesel


EAST TENNESSEE STATE UNIVERSITY

STANDARD BID TERMS & CONDITIONS

1. PREPARATION AND SUBMISSION OF BID

a. Failure to examine any drawings, specifications or instructions will be at the Bidder’s risk. 

b. BID SUBMITAL / SIGNATURE:  Bid should give the full name and business address of the Bidder.  If the Bidder is a corporation, the name shall be stated as it is in the corporate charter.  Bids must be signed in ink by the Bidder’s authorized agent.  Unsigned bids will be rejected.  Bids are to be sealed and the outside of the envelope is to reference the bid number.  The person signing the bid must indicate his title, and if requested by the University, must furnish satisfactory proof of his or her authority to bind his or her company in contract.  Bidder understands that by submitting a bid with an authorized signature, it shall constitute an offer to the University.   Bids must be typewritten or handwritten in ink; otherwise they may not be considered.  Purchase orders will be issued to the firm name appearing on the bid. 

c. If a contract is required by the successful bidder, the ETSU contractual document must be executed.  A sample Pro Forma Contract can be found at  https://www.etsu.edu/bf/procurement/purchasing/vendor_information.php
d. Bids are to be received in the location designated on the bid no later than the specified date and time.  Late bids will NOT be opened or considered. 

e. No erasures are permitted.  Errors may be crossed out and corrections printed in ink or typewritten adjacent to error and must be initialed in ink by person signing bid. 

f. Discounts other than “Time” or “Cash” offered should be deducted from the unit price.  Discounts of less than 30 days will not be considered in evaluation of bid.  

g. Specifications:  Reference to available specifications shall be sufficient to make the terms of the specifications binding on the Bidder.  The use of the name of a manufacturer, or any special brand or make in describing an item does not restrict the Bidder to that manufacturer or specific article, unless specifically stated.  Comparable products of other manufacturers will be considered if proof of compatibility is contained in the bid.  Bidders are required to notify the University’s Chief Procurement Officer whenever specifications procedures are not perceived to be fair and open.  All suggestions or objections shall be made in writing and received by the Chief Procurement Officer at least three (3) working days prior to the bid opening.  The articles on which the bids are submitted must be equal or superior to that specified.  Informative and Descriptive Literature:  The Bidder must show brand or trade names of the articles bid, when applicable.  It shall be the responsibility of the vendor, including vendors whose product is referenced; to furnish with the bid such specifications, catalog pages, brochures or other data as will provide an adequate basis for determining the quality and functional capabilities of the product offered.  Failure to provide this data may be considered valid justification for rejection of bid. 

h. Samples:  Samples of items when called for, must be furnished free of expense, and if not destroyed upon product evaluation will, upon Bidder’s request within ten (10) days of bid opening, be returned at the Bidder’s expense.  Each sample must be labeled with the Bidder’s name, manufacturer’s brand name and number, bid number and item reference. 

i. Time of Performance:  The number of calendar days in which delivery is to be made after receipt of order shall be stated in the bid and may be a factor in making an award, price notwithstanding.  If no delivery time is stated in the bid, Bidder agrees that delivery is to be made within two week (10 business days) of order. 

j. Transportation and delivery charges should be included in the price and be fully prepaid by the vendor to the destination specified in the bid.  Bid prices shall include delivery of all items F.O.B. destination. 

k. New equipment, materials and supplies must be delivered unless otherwise specifically called for in the bid.  Used, remanufactured, or refurbished are not acceptable.

l. Alternate/multiple bids will not be considered unless specifically called for in the bid. 

m. Bond requirements.  The University reserves the right to require that the selected vendor post a performance and/or payment bond in such amount as deemed reasonable by the University.  Any bond requirement should be included in the bid, itemized separately. 

n. Only bids submitted on bid forms furnished by the University will be considered, except that the University reserves the right to consider telephone, faxed or electronically submitted bids for purchases totaling less than $50,000. 

o. By signing this bid where indicated, the Bidder agrees to strictly abide by all state and federal statutes and regulations. The Bidder further certifies that this bid is made without collusion or fraud. 

p. FAILURE TO BID / ERROR IN BID.   Failure to bid without advising the University that future invitations for bids are desirable may result in removal from University’s bidders’ list covering this category of items.  In case of error in the extension of prices in the bid, the unit price will govern.  Late bids will NOT be opened or considered.  Bidders are cautioned to verify their bids before submission, as amendments received after the bid deadline will not be considered.  No bid shall be altered, amended or withdrawn after opening.  After bid opening, a Bidder may withdraw a bid only when there is obvious clerical error such as a misplaced decimal point, or when enforcement of the bid would impose unconscionable hardship due to an error in the bid resulting in a quotation substantially below the other bids received.  Bid withdrawals will be considered only upon written request of the Bidder.

2. INSPECTION 

All bids will be publicly opened and are subject to public inspection after the award.  Bidders may be present at bid opening.  All proposers should know and shall be deemed responsible for knowing the facts documented in the institution’s procurement files on the day the institution opens the bid files for public inspection for seven (7) calendar days.  Any issues raised by bidders after the seven day period shall not be considered.

3. ACCEPTANCE AND AWARD
The University reserves the right to reject any and all bids and to waive any informality in bids and, unless otherwise specified by the Bidder to accept any item in the bid.  Action to reject all bids shall be taken for unreasonably high prices, errors in the bid documents, cessation of need, unavailability of funds, or any other reason approved by the University.

a. Contracts and purchases will be made with the lowest, responsible, qualified Bidder.  The quality of the articles to be supplied, their conformity with the specifications, their suitability to the requirements of the University, cash discount offered and the delivery terms will be taken into consideration.

b. Discounts offered for less than net 30 days cannot be considered in the cost evaluation but will be taken when paying invoices.

c. The University reserves the right to order up to 10% more or less than the quantity listed in the bid. 

d. If a Bidder fails to state a time within which a bid must be accepted, it is understood and agreed that the University shall have sixty (60) days to accept. 

e. A written purchase order mailed or otherwise furnished, to the successful Bidder within the time period specified in the bid results in a binding contract without further action by either party.  The contract may not be assigned without written University consent. 

f. If the appropriate space is marked on the bid, other state institutions of higher education may purchase off the contract during the same period as the University. 

4. DISCOUNT PERIOD  

Time in connection with discount offered will be computed from the date of delivery at destination, or from the date correct invoices are received, whichever is later. 

5. DEFAULT OF SELECTED VENDOR
 In case of vendor default, the University may procure the articles or services from other sources and hold the defaulting vendor responsible for any resulting cost. 
6. INSPECTION OF PURCHASES
 Articles received which are not equivalent will not be accepted and will be picked up by the vendor or returned to vendor, shipping charges collect.   University shall have a reasonable period in which to inspect and accept or reject materials without liability.   If necessity requires University to use nonconforming materials, an appropriate reduction in payment may be made. 

7. TAXES
University is tax exempt; do not include taxes in quotation.  Vendors making improvements or additions to, or performing repair work on real property for University are liable for any applicable sales or use tax on tangible personal property used in connection with the contract or furnished to vendors by the state for use under the contract. 

8. NONDISCRIMINATION
The University and Bidder agree to comply with Titles VI and VII of the Civil Rights Act of 1964, Title IX of the Education Amendments of 1972, Section 504 of the Rehabilitation Act of 1973, Executive Order 11, 246, the Americans with Disabilities Act of 1990 and the related regulations to each.  Each party assures that it will not discriminate against any individual including, but not limited to employees or applicants for employment and/or students, because of race, religion, creed, color, sex, age, disability, veteran status or national origin. 

9. PROHIBITIONS / NO VENDOR CONTRACT FORM / TENNESSEE LAW / AUDIT
 Acceptance of gifts from vendors is prohibited.   TCA §12-3-106.  Bidding by state employees is prohibited.  TCA § 12-4-103.  The Bidder warrants that no part of the total contract amount shall be paid directly or indirectly to any officer or employee of the State of Tennessee.  The contract documents for purchase under this bid request shall consist of the successful Bidder’s bid and the University’s purchase order.  Bidders may not require any other written contract terms or conditions, nor may any other terms and conditions be imposed by means of subsequent documents, such as invoices, warranty agreements, license agreements, etc.  Should the Bidder request exceptions to terms and conditions and/or those proposed by the Bidder vary from the bid and ETSU Policies and Guidelines, ETSU may render the bid unresponsive and subject the bid to rejection.  The contract shall be governed by Tennessee law.  For all awards other than for a firm, fixed price, vendor shall maintain books and records for a period of five (5) years from final payment, and these records shall be subject to audit by the State.  

10. PURCHASING POLICIES 
This bid request and any award made hereunder are subject to the policies and guidelines of the ETSU Board of Trustees Bid subject to the Standard Bid Terms & Conditions available at https://www.etsu.edu/bf/procurement/purchasing/vendor_information.php
& ETSU Board of Trustees, General Purchasing, Receipt of Materials, & Payment of Invoices at https://www.etsu.edu/bf/fp.php
11. BID PROTEST

Bid protest procedures are available at: https://www.etsu.edu/bf/procurement/purchasing/vendor_information.php.    

12. PROHIBITION OF HIRING ILLEGAL IMMIGRANTS
By responding to this bid, the Bidder is attesting that the Bidder will not knowingly utilize the services of illegal immigrants and will not knowingly utilize the services of any subcontractor that does so in delivery of the goods / services under this order.  If the Bidder is discovered to have breached this attestation, the Bidder shall be prohibited from supplying goods / services to any State institution for a period of one (1) year from the date of discovery of the breach, Rules of Finance and Administration, 0620. 

13. SMOKING ON CAMPUS
ETSU is a Tobacco-Free Campus, where all use of tobacco is restricted to private vehicles.

14. PARKING
All vehicles on ETSU property must comply with the University Parking and Traffic Regulations which can be found at https://www.etsu.edu/facilities/parking/.  Parking permits can be obtained online.

15. DAMAGES
The successful vendor is responsible for any damages to ETSU property and is also responsible at the vendor’s expense for the repair of such damages.  This includes damages to sidewalks, curbs, streets, lawns and landscape areas.

16. SALES AND USE TAX
Before the Contract resulting from this RFQ is signed, the apparent successful Bidder must be registered with the Department of Revenue for the collection of Tennessee sales and use tax.  The State shall not approve a contract unless the Bidder provides proof of such registration.  The foregoing is a mandatory requirement of an award of a contract pursuant to this solicitation.  The Contractor shall comply, and shall require any subcontractor to comply, with all laws and regulations governing the remittance of sales and use taxes on the sale of goods and services made by the Contractor, or the Contractor’s subcontractor. 

17. SERVICE & SOFTWARE ACCESSIBILITY STANDARDS
All Informational Material and Technology (IMT) developed, purchased, upgraded or renewed by or for the use of the Institution will comply with all applicable University policies, Federal and State law and regulations including but not limited to the accessibility guidelines set forth in Web Content Accessibility Guidelines 2.0 A & AA, EPub3 Accessibility guidelines, Section 508 and all other regulations promulgated under Section 504 of the Rehabilitation Act and Title II of The Americans with Disabilities Act as amended. Further:
a. Compliance means that a person with a disability can acquire the same information, engage in the same interactions, and enjoy the same services as a person without a disability, in an equally effective and integrated manner, with substantially equivalent ease of use. 

b. The Successful Bidder/Proposer warrants that any IMT purchased by, developed, upgraded or renewed for ETSU will comply with the aforementioned accessibility guidelines and the contractor/vendor will provide accessibility testing results, written documentation verifying accessibility including the most recent VPAT for the product/service identified in this document.

c. The Successful Bidder/Proposer will promptly respond to and resolve accessibility issues/complaints, and to indemnify and hold the Institution harmless in the event of claims arising from inaccessibility of the Bidder/Proposer’s product(s) or service(s).

18. PROHIBITIONS/NO VENDOR CONTRACT FORM/TENNESSEE LAW/AUDIT.  

Acceptance of gifts from vendors is prohibited. TCA §12-3-106.  Bidding by state employees is prohibited. TCA §12-4-103.  The bidder warrants that no part of the total contract amount shall be paid directly or indirectly to any officer or employee of the State of Tennessee.  The contract documents for purchase under this bid request shall consist of the successful bidder’s bid and the Institution’s purchase order.  Bidders may not require any other written contract terms or conditions, nor may any other terms and conditions be imposed by means of subsequent documents, such as invoices, warranty agreements, license agreements, etc.  Should the bidder request exceptions to terms and conditions and/or those proposed by the bidder vary from the bid and Institution policies and guidelines may render the bid unresponsive and subject the bid to rejection.  The contract shall be governed by Tennessee law.  For all awards other than for a firm, fixed price, vendor shall maintain books and records for a period of five (5) years from final payment, and these records shall be subject to audit by the State.

19.  IRAN DIVESTMENT ACT. 

By submission of the Bid, each Bidder and each person signing on behalf of any Bidder certifies, and in the case of a       joint bid each party thereto certifies as to its own organization, under penalty of perjury, that to the best of its knowledge and belief that each Bidder is not on the list created pursuant to §12-12-106.

(Updated 6/11/2018)

[image: image2.jpg]



	1. Company Name & Bid Address (Info will be verified     against IRS records & vendor name)


	2.  Address to which payments are to be mailed (if same as #1, leave blank)



	3. Telephone (toll free)


	4. Telephone (other)



	5. Fax 

 
	6. Name of Contact Person 



	7. Email Address of Contact Person


	8. Company URL



	9. Federal Identification Number (FEIN) 
Note: Company name must match IRS records

	10. Social Security Number (if no FEIN) 



	11. Type of Organization (Check one)

☐  Individual                         ☐  Foreign Individual

☐ Partnership                      ☐  Medical/Health Corp

State of Incorporation:                                             

Year of Incorporation:               
	12. Kind of Ownership (Check all that apply):

☐Govt. (GO)

☐Minority

☐Non-Profit (NO)

☐Woman (WO)

☐Majority (MJ)

☐Small (SM)

☐Service-Disabled Veteran



	13. Minority Ethnicity Code (Check One):

□  African American (MA)            □  Native American (MN)

□  Hispanic American (MH)         □  Asian American (MS)

□  Other Minority (MO) Specify: ____________________
	14. Preference for reporting purposes:    

□  Small       □  Minority        □  Woman-Owned 
    Service-Disabled Veteran

	15. Type of Business (Check one):

□ Agriculture, Forestry, Fishing              □ Construction                                          

□ Marketing/Communications/Public Relations

□ Architectural/Design/Engineering         □ Educational                                               

□ Medical/Healthcare                               □ Manufacturing                                        

□ Mining                                                   □ Retail Trade 

□ Finance, Insurance & Real Estate        □ Service Industry

□ Information Systems/Technology         □ Wholesale Trade 

□ Transportation, Commerce & Utilities


	16. Number of Employees 

	
	17.  Excluded from Federal Procurement or Nonprocurement Programs?    Yes         No 

https://www.sam.gov/portal/SAM/#1


	
	18. Annual Gross Sales 

 

	19. Commodities: List goods and services for which your company wishes to receive bid opportunities.  If additional space is needed please attach a separate sheet to the vendor application. 



	20. *
	

	SECTION A – 

CONTRACTOR IS AN INDIVIDUAL
	SECTION B – 

CONTRACTOR IS A COMPANY

(e.g. sole proprietorship, partnership, or corporation)



	Is or has the Contractor been a state employee?

   NO  (no additional information required)

   YES
	Does an individual (or an individual’s immediate family member), who is or has been a state employee, own controlling interest (more than 4%) in the Contractor company? 
    NO (no additional information required)

    YES

	Was such employment within the past six months?
    NO

    YES
	Was such employment within the past six months?
    NO
    YES

	
	

	21. Certification:  By submitting this form, I certify that I am an authorized representative of the above company and that all the information as completed above is true and accurate.

        ____________________________________________________________________________

        Name                                                             Title                                                            Date


*Conflict of Interest Policy:  https://policies.tbr.edu/policies/conflict-interest and

https://policies.tbr.edu/policies/purchasing-policies-and-procedures -Exhibit 3
East Tennessee State University does not discriminate against students, employees, or applicants for admission or employment on the basis of race, color, religion, creed, national origin, sex, sexual orientation, gender identity/expression, disability, age, status as a protected veteran, genetic information, or any other legally protected class with respect to all employment, programs and activities sponsored by ETSU.
Attachment A





East Tennessee State University


Vendor Application


Procurement & Contract Services


P.O. Box 70729


Johnson City, TN 37614-1710


� HYPERLINK "http://www.etsu.edu/procurement" �www.etsu.edu/procurement�


Phone: (423) 439-4224


Fax application to (423) 439-5746 or email


to � HYPERLINK "mailto:graytl@etsu.edu" �graytl@etsu.edu� 

















1
PAGE  
4

