**QPCR set up**

Manual vs. Robot

Ex. hBeta-2 Microglobulin

Manual

**Std Curve:**

Slope -3.430

Efficiency 96.5%

Correl. Coeff. 0.997

**Unknown:** Ct 24.74±0.36



Robot

**Std Curve:**

Slope -3.341

Efficiency 99.2%

Correl. Coeff. 0.996

**Unknown:** Ct 24.68±0.50

