## Design Phase CHECKLIST
C36 CONSTRUCTION DOCUMENT PHASE DOCUMENT CHECKLIST
Project Name: |  | Prepared By:
SBC No.: |  | Date:
General Information |  | Building Elevations
| Occupancy Classifications/Const. Type(s) |  | Exterior Bldg. Elevations with locations of doors, operable/fixed/spandrel glazing, floor-to-floor and overall heights
Life Safety Plan with fire separations/walls, egress routes, ADA accessibility
| Occupant Loads |  | Exterior Finish Materials (indicated)
| Code Analysis Sheet with GSF for each level |  | Exterior Cladding Systems (indicated)
| Drawing Set Sheet Index |  | Exterior Lighting Locations
| Room Numbering System |  | Roof Profile and Finish Materials
Interior Elevations of major/complex spaces
Space Efficiency and Cost Analysis |  |  | Typical Casework Elevations
Calculated GSF, NASF, and ER
| Summary of changes from Developed Design and description of causes of change | Building & Wall Sections
Bldg. Sections showing floor-to-floor heights, space relationships, mechanical plenums
Confirmed validity of DD Cost Estimate -or- Updated Construction Cost Estimate
All Exterior Wall Sections (referenced)
| Comparison of Estimate to design's GSF applied to previous Cost/GSF Estimate |  | Stair, Elevator, and Shaft Sections
Sections for HVAC & Unique Systems, including sections at air handling units
Site Plans
| Site Survey of existing topography | Details
| Site Location Plan incl. parking, accessible spaces, bike racks, MEP Units, & site features |  | All Exterior Const. Details incl. Roof Details
Wall Types & Interior Details (plans/sections)
| Site Grading/Storm Drainage Plan |  | Door/Frame/Window Schedules (ext. and int.)
| Site Utilities/Civil Engineering Plan |  | All Structural Details (coordinated)
| Site Landscaping & Irrigation Plans |  | MEP Equipment Schedules
| Mech/Elect/Plumbing Site Plans |  | Reflected Ceiling Plan/Section Details
| Site Detail Sheets (All) |  | Specialty Wall Details (blast/dust/visual)
Referenced Detail Sheets (all systems)
Building Floor Plans
| 1/8" Floor Plans w/ dimensions and ref. marks, building columns, door swings & labels | Project Manual
Basis of Design Description (including MEP)
| 1/4" Enlarged Plans for req'd areas/systems |  | Final Construction Specifications
| 1/4" Enlarged Stair and Elevator Plans |  | Required Accessibility Details/Specs
| 1/8" min. Roof Plan, with roof pads/drains |  | Interior Finish Narrative Description
| Occupancy Separation/Rated Wall Plans |  | Soils Investigation Report/Specifications
| Utility Main and Entrance Locations |  | Stormwater Erosion Control Plan / Stormwater Pollution Prevention Plan
Structural Foundation/Column Plans
| Structural Framing Plans with shear walls |  | Traffic Study & Description (if required)
| Refined Furniture/Equipment Plans |  | Signage/Wayfinding Specifications (if required)
| Interior Finish Plans/Schedules/Details |  | Lighting Levels/Acoustical Specifications
| Reflected Ceiling Plans & Details |  | Vibration Damping Specifications (if required)
| Mechanical Single-Line Distribution Plans and Double-Line Ductwork Plans |  | Fume Hood/Lab Equipt. Inventory (if required)
| Mech/Elect/Telecomm Room Plans | High Performance Building Requirements
| Vertical Circulation, Shafts, and Chases |  | HPBr documents required for design phase.
Electrical Power/Distribution Plans
| Electrical Lighting Plans | Testing
| Casework Location Plans & Details |  | Structural Steel IBC Code Required
| Lab Equipment Plans (if required) |  | Other Building Component or Materials Testing
| Kitchen/Specialty Equipment Plans |  | Environmental Testing
A/V, Security/CCTV Equipment Plans
| All Final Schedules, Keys, and Legends | Other Required Coordination for Design Phase
| Fire Alarm and Sprinkler Shop Drawings |  | Commissioning coordination and documents
| All Final Schedules, Keys, and Legends |  | SFMO coordination and submittals
| Fire Alarm and Sprinkler Shop Drawings |  | Plans review meeting