## Sheet1
|  |  | Radiation Safety Survey | [7 empty] | Department of Radiation Safety
P.O. Box: 70653
Phone: 439-6056
Fax: 439-6057
|  |  | Licensed User: | [7 empty] | Building: VA 178
|  |  | Department: | [7 empty] | Room #: A-122
Surveyor: |  |  |  |  | Survey Date: |  |  |  | Instrument Used:
Area Diagram | [8 empty] | Calibration Date:
|  |  | Bench | [5 empty] | Compliance Items: |  |  | Yes - Compliance
No - Non-compliance
[9 empty] | Yes | No |  | Blank - Not Evaluated
Refrigerator | [8 empty] | Labeling Requirements:
Signs & labels: Room
Source Containers
Refrigerator/Freezer
[7 empty] | Cart |  |  |  | L.S. Vials
Waste Container
Other Equipment
Bio Hood | [8 empty] | Safety Requirements:
Absorbent Paper
Fume Hood Insp.Date:
Adequate Hood Flow (>100 lfpm)
Actual Hood Flow:___________
Adequate Personnel Monitoring
Radioactive Waste Management
Adequate Radionuclide Storage
Prohibition of Mouth Pipetting
|  |  | Incubators |  |  |  | Bio Hood |  |  |  | Contamination
(Wipes <3 x bkg CPM)
Survey Instrument Operational
Calibration Due Date:
Program Requirements:
Inventory & Disposal Records
|  |  | See Attached Report | [7 empty] | Survey Records
Personnel Training
Security of Licensed Materials
| Wipe Sample Results: CPM | [9 empty] | Other:
Radionuclides | Blank | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Direct Meter Results (CPM): |  | Readings CPM:
All Direct Meter Results < 2 x Background:
Sample # 8 - 15 | [9 empty] | Yes
Sample # 16 - 23 | [9 empty] | No
Sample # 24 - 31 | [8 empty] | If > 2 x background clean area and resurvey
\
Comments:
Note: Any survey swipes >3 times background (net counts) cpm or >200 dpm/100 cm2 must be cleaned and resurveyed.
Direct meter readings > 2 x background must be cleaned and resurveyed.
Please return to the Radiation Safety Office by either fax (439-6057) or email lylesj@etsu.edu